# 2026 Small & Medium Business - Electric and Gas Weatherization                     Programs Guidebook

# 2026 National Grid SMB Electric and Gas Weatherization Programs Guidebook

## Instructions

This Guidebook contains program eligibility criteria and incentive amounts available for the commercial electric and gas weatherization Energy Efﬁciency Measures (EEMs) listed in this guidebook. This information can be used to determine program and customer eligibility, estimate potential incentives, assist in applying for incentives, and explain the Post Inspection and Quality Assurance and Quality Control (QA/QC) procedures.

## Customer Eligibility

The customer must be on a National Grid commercial gas or electric rate code that pays the System Beneﬁts Charge (SBC).

- Delivered fuel customers are eligible if they are on a National Grid commercial electric rate code that pays the System Beneﬁts Charge (SBC).

- Customers may not apply for or receive multiple incentives for the same EEM from other SBC funded and or rate based funded New York State utilities, or from other National Grid energy efﬁciency programs or the New York State Energy Research and Development Authority (“NYSERDA”).

- Gas customers: have an annual usage of less than 50,000 Therms

- Electric customers: have an average annual peak demand under 250KW

## How To Participate

- Planning:

  - Contact a Willdan representative ﬁrst to conﬁrm project eligibility.

  - Willdan will schedule a pre-inspection site visit to document the existing measures and conditions.

- Project Approval:

  - Submit your completed application package to your Willdan representative.

  - Required documents to be included in your application package:

    - Completed and signed application

    - Detailed description of facility project, hours of operation, and insulation R-values and U-factors

    - Account numbers for all project installation sites

    - Existing measure information (nameplate data)

    - Speciﬁcation sheets with measure performance ratings

    - Pre- Inspection photos – must clearly document the existing conditions of the measure, including the speciﬁc items or area involved (e.g., windows, pipe insulation, cracks requiring air sealing), along with precise locations.

    - Total cost of project supported by contractor quote for proposed measure being installed

  - Federal Tax ID and Customer W-9 and/or Incentive Recipient W-9 (if different from Customer).

  - Willdan will review your application, and National Grid will determine preliminary savings and incentives.

  - If approved, we will send an Offer Letter detailing the incentive amount along with a Minimum Requirements Document (MRD), which provides the required weatherization efﬁciencies for an acceptable project.

  - Customer signs the Offer Letter and the MRD and returns them to their Willdan representative.

  - Share any project scope changes with your Willdan representative immediately. Further review of project eligibility, savings, and the incentive may be required.

- Completed Construction:

  - When the weatherization measure is installed, notify your Willdan representative.

  - Submit the ﬁnal project paid in full invoices (material and labor) and any requested ﬁnal documents to your Willdan representative.

  - Submit installation photos for all weatherization projects (e.g., wall insulation, air sealing cracks, pipe insulation, etc.). All photo documentation must meet the following requirements:

- Photos must be clear and include readable labels (e.g., insulation thickness measurements).

- All photos must display a visible date and time stamp.

- Photos must document all necessary information to approve the project including but not limited to insulation type, thickness, and R-value and/or U-factor.

- Photos showing thickness measurements must clearly display the measurement tool in use (e.g., measuring tape, depth gauge).

- Include overview photos that clearly show the location and extent of the installed weatherization measure for each item.

  - Willdan may schedule a post-inspection site visit to conﬁrm all work was done in accordance with the MRD. Customer signature is required once the post inspection is completed. The company reserves the right to not pay any incentive until it has performed a veriﬁcation of the speciﬁed installation. If the Willdan and/or National Grid determined that the Energy Efﬁciency Measures (EEMs) were not installed in a manner that is consistent with Program guidelines and applicable state and local code requirements, National Grid may require that the installation be modiﬁed before making any incentive payments. The cost of such modiﬁcations is the responsibility of the Customer.

  - We will conduct a ﬁnal review of the project and revise the energy savings and incentive if needed.

  - An Incentive Check will be mailed to the Payee address and Payee contact listed on the application.

## Incentives For Disadvantaged Communities

- Customers located in Disadvantaged Communities may be eligible for increased incentives. Work with your Willdan representative to check eligibility Disadvantaged Communities

- NYSERDA

- Ask your Willdan representative about Passive Haus Incentives offered under the Commercial Electric Weatherization program.

## Bundle Up Incentive

  - Customers who install a heat pump and complete qualifying weatherization measures withing the same project may be eligible for enhance “Bundle Up” incentive of $6,500.

  - To qualify, the project must meet the equipment requirements of the Small Business Heating Electrification and Weatherization Programs, and the incentive is issued only after a satisfactory post-installation inspection for both the heat pump and the weatherization work.

  - Qualifying weatherization measures for the bundle up incentive are roof, attic and wall insulation.

National Grid Upstate New York (UNY) Small-Medium Commercial & Industrial (C&I) Heating Electrification and Weatherization Incentive Eligibility Matrix

## Program Requirements

- Project must be in an existing building, either a retroﬁt or gut rehab

  - Gut Rehab: For the purposes of program eligibility, gut rehab projects are deﬁned as meeting one of the following conditions:

### Change of Occupancy with Full Reconstruction:

Projects involving a change in occupancy accompanied by the reconstruction of an existing building or interior space, including removal of all materials, systems, and equipment down to the structural load-bearing elements.

### Reconstruction of a Vacant Structure or Space:

Projects that involve the reconstruction of a vacant building or interior space, including removal of all materials, systems, and equipment down to the structural load-bearing elements.

- Ineligible Project Types: New Construction, including building additions as deﬁned in the Energy Conservation Construction Code of New York State (ECCCNYS), is not eligible to participate in energy efﬁciency programs unless explicitly permitted for speciﬁc measures (e.g., ground source heat pumps).

- Energy Savings baseline requirements: For Qualifying Gut Rehab projects, the current ECCCNYS and/or applicable local energy code shall serve as the baseline for determining eligible energy savings.

- Equipment must be installed after customer signs and submits a signed Incentive Offer Letter from National Grid.

- The Customer is responsible for ensuring compliance with all applicable building codes.

- Installed measures must meet or exceed the standards set forth in the New York State Energy Code for retroﬁt projects in existing buildings

- Installed measures must exceed the standards set forth in the New York State Energy Code for gut rehab projects.

## Program Contacts

- For questions, contact your Willdan representative or

- ProNet – Downstate

Email: NGRIDNYdownstateCDO@willdan.com

Phone Number: 844-437-0484

- ProNet – Upstate

Email: NGRIDNYupstateCDO@willdan.com

Phone Number: 844-437-0483

# Eligible Measures

All measures and incentives listed below are subject to change at the discretion of National Grid without prior written notiﬁcation. Issuance of incentives for completed applications is contingent upon program availability and program funding.

## Air Curtains

Speciﬁcations — Qualifying air curtains must cover the entire door opening and operate only during the cooling and heating seasons. This measure is applicable to entryways with overhead doors and pedestrian doorways, including sliding door entryways between indoor conditioned and outdoor unconditioned spaces.

This measure is applicable to retroﬁt and gut rehab projects where it is not required by the current ECCCNYS and/or applicable local code.

Baseline — The baseline condition for this measure is an entryway with overhead doors or a pedestrian doorway with no air curtains installed.

Compliance products shall be rated in accordance with ANSI/AMCA Standard 220-21. Air curtains shall operate only during the cooling and heating seasons.

Installation must follow manufacture recommendations regarding proper air velocity, discharge angle down to the ﬂoor level and unit position.

### Incentive:

| DNY Gas | Incentive Rate | DAC Rate | Project Incentive Cap |
| --- | --- | --- | --- |
| Air Curtains | $3,000/unit | $3,500/unit | Market Rate: 85% or $50,000, whichever is met first DAC: 90% or $50,000, whichever is met first |
| UNY Gas & Electric | Incentive Rate | DAC Rate | Project Incentive Cap |  |
| Air Curtains | $3,000/unit | $3,500/unit | Market Rate: 70% or $50,000, whichever is met first DAC: 85% or $50,000, whichever is met first |  |
| Air Curtain - cooling incentive | $0.2/kWh | $1.2/kWh |  |  |

#### Project Scope must include:

- Quantity of air curtains to be installed

- Size of entryway (Height and Length)

- Indicate if the entryway has a vestibule

- Air Curtain Motor Horsepower (decimal)

- Building System Type:

  - AC With Electric Heat

  - AC With Fuel Heat

  - Air Source Heat Pump

  - Electric Heat Only

  - Fuel Heat Only

- Indoor heating temperature set point (F), if known

- Indoor cooling temperature set point (F), if known

- Fossil Fuel Equipment Efﬁciency (Eff Fuel Heat) – for Gas only

- Electric Cooling Seasonal Efﬁciency (Eff Elec Cool) – for Electric cooling

- Electric Heating Efﬁciency Rating (COP or HSPF) – for Electric Heating

- Electric Heat Efﬁciency (Eff Elec Heat) – for Electric Heating

## Air Sealing

Speciﬁcations — This measure covers methods of sealing air leakage paths to reduce the natural air inﬁltration rate of a building through the installation of products and repairs to the building envelope, including, but not limited to, caulking, gasketing, door sweeps, and weather stripping.

This measure is only applicable as a retroﬁt in existing buildings.

Partial air sealing treatment applications are acceptable, where the square feet collected shall reﬂect the conditioned ﬂoor area impacted by air leakage sealing inspection and remediation.

Baseline — The baseline air leakage ﬂow rate shall come from blower door testing. If pre-implementation blower door results are unavailable, TRM default values will be used. For all buildings, if a blower door test can’t be conducted, pre-implementation results will serve as existing conditions.

Compliance — The compliance condition is the application of air leakage sealing treatments to an existing building envelope such that the exterior envelope, as well as interior walls/partitions between conditioned and unconditioned spaces have been inspected and all identiﬁed signiﬁcant air gaps sealed.

The compliance air leakage ﬂow rate shall come from blower door testing. If post-implementation blower door results are unavailable, TRM default values will be used. For all buildings, if a blower door test can’t be conducted, post-implementation results will serve as efﬁcient conditions.

### Incentive:

| DNY Gas | Incentive Rate | DAC Rate | Project Incentive Cap |
| --- | --- | --- | --- |
| Air Sealing | $6/Linear Foot | $7/Linear Foot | Market Rate: 85% or $50,000, whichever is met first DAC: 90% or $50,000, whichever is met first |
| UNY Gas & Electric | Incentive Rate | DAC Rate | Project Incentive Cap |
| Air Sealing | $6/Linear Foot | $7/Linear Foot | Market Rate: 70% or $50,000, whichever is met first DAC: 85% or $50,000, whichever is met first |

Project Scope must include:

- The exterior envelope, as well as interior walls/partitions between conditioned and unconditioned spaces, should be inspected through a comprehensive building envelope survey and all gaps sealed. At a minimum, the following items shall be inspected, and sealing measures implemented based upon inspection results:

  - Caulk and weather strip doors and windows that leak air and install door sweeps on doors leading to the exterior or an unconditioned space.

  - Repair or replace doors leading from conditioned to unconditioned spaces

  - Seal air leaks between unconditioned (including unconditioned basements and attics) and conditioned spaces to include but not limited to plumbing, ducting, electrical wiring, wall top plates, chimneys, ﬂues, and drooped sofﬁts

  - Use foam sealant on larger gaps around windows, baseboards, and other places where air leakage either inﬁltration or exﬁltration may occur

- Conditioned area (sq ft) impacted by air sealing treatment

- Linear footage of air sealed gaps

- Identify shielding class/obstruction near the facility

  - (1) No shielding on any side

  - (2) A few nearby obstructions

  - (3) A collection of obstructions within 25 feet

  - (4) Substantial number of obstructions that shield most of the perimeter – typical suburban settings

  - (5) Buildings surrounded by large structures – typical urban setting

- Number of conditioned stories/ﬂoors

- Inﬁltration rate CFM75, Baseline/sq ft, if known

- Inﬁltration rate CFM75, Proposed/sq ft, if known

- Fossil Fuel Equipment Efﬁciency (Eff Fuel Heat) – for Gas only

- Electric Cooling Seasonal Efﬁciency, EffElecCool (SEER or IEER) – for Electric cooling

- Electric Cooling Energy Efﬁciency Ratio (EER) – for Electric cooling

- Electric Heating Efﬁciency Rating, EffElecHeat (HSPF) – for Electric Heating

## Window Replacement

Speciﬁcation —This measure covers the installation of high-efﬁciency windows with reduced thermal conductance and solar heat gain coefﬁcient. For the purposes of this measure, a window is deﬁned as an assembled unit consisting of a frame/sash component holding one or more pieces of glazing functioning to admit light and/or air into an enclosure and designed for a vertical installation in an external wall of a commercial building.

### For Retroﬁt Projects:

Baseline — The baseline condition uses the windows characteristics found in the TRM V13 models in appendix A.

Compliance — The minimum compliance condition for this measure is a window meeting or exceeding the speciﬁcations prescribed for improved fenestration as presented in the table below.

| Climate Zone | Maximum U-Factor |  | Maximum SHGC | Minimum Visible Transmittance |
| --- | --- | --- | --- | --- |
|  | Fixed | Operable |  |  |
| 4 & 5 | 0.31 | 0.38 | 0.34 | 0.41 |
| 6 | 0.26 | 0.32 | 0.38 | 0.44 |

### For Gut Rehab Projects:

Baseline — The baseline condition is a window meeting the current ECCCNYS and/or applicable local code.

Compliance — The compliance condition for this measure is a window exceeding the current ECCCNYS and /or applicable local code. The 2025 ECCCNYS code is presented below.

| Climate Zone | Maximum U-Factor |  | Maximum SHGC | Minimum Visible Transmittance |
| --- | --- | --- | --- | --- |
|  | Fixed | Operable |  |  |
| 4 & 5 | 0.31 | 0.38 | 0.34 | 0.41 |
| 6 | 0.26 | 0.32 | 0.38 | 0.44 |

Note: For gut rehab, windows’ energy savings calculations will be processed custom by Technical Sales and Support (TSS) engineers.

Incentive:

| DNY GAs | Incentive Rate | DAC Rate | Project Incentive Cap |
| --- | --- | --- | --- |
| Window Replacement U-Factor 0.28 - 0.38 | $5.5/SQft | $6.5/SQft | Market Rate: 85% or $50,000, whichever is met first DAC: 90% or $50,000, whichever is met first |
| Window Replacement U-Factor ≤ 0.27999 | $8/SQft | $9/SQft |  |
| UNY Gas & Electric | Incentive Rate | DAC Rate | Project Incentive Cap |
| Window Replacement U-Factor 0.28 - 0.38 | $5.5/SQft | $6.5/SQft | Market Rate: 70% or $50,000, whichever is met first DAC: 85% or $50,000, whichever is met first |
| Window Replacement U-Factor ≤ 0.27999 | $8/SQft | $9/SQft |  |

Project Scope must complete the Window Calc in the Weatherization Tool that includes:

- Quantity of windows (if proposal includes several window models or types, please list quantity for each one)

- Area (sq ft) of each window or window dimension (height and width)

- Building Type (Commercial, Industrial)

- Project Type (Retroﬁt or Gut Rehab)

- Each window structure type (i.e., Operable or Fixed), quantity, and location

- Building System Type:

  - AC With Electric Heat

  - AC With Fuel Heat

  - Air Source Heat Pump

  - Electric Heat Only

  - Fuel Heat Only

- Spec Sheet or NFRC that includes:

  - Proposed Window U-Factor

  - Proposed Solar Heat Gain Coefﬁcient (SHGC)

  - Proposed Visible Transmittance (VT)

  - Proof of U-Factors, SHGC, & VT needs to be provided using the manufacturer’s order conﬁrmation/speciﬁcation sheet showing the sizes and U-Factors for all windows, or the NFRC sticker from each window

- Fossil Fuel Equipment Efﬁciency (Eff Fuel Heat) – for Gas only

- Electric Cooling Seasonal Efﬁciency (EFF Elec Cool) – for Electric Cooling

- Electric Heating Efﬁciency Rating (COP or HSPF) – for Electric Heating

- Electric Heat Efﬁciency (Eff Elec Heat) – for Electric Heating

## Window Inserts

Speciﬁcations — Window inserts, also known as secondary windows, are retroﬁt products that attach to the interior or exterior of existing windows and provide an enhanced insulating barrier between the window and the outdoor environment, minimizing the infrared energy that can pass through and reduce air inﬁltration. Window Inserts must be ﬁxed in place with a mechanical fastener, making them non-removable.

Windows for unconditioned spaces (such as basement) or interior windows that are not exposed directly to the outdoors (such as interior vestibules) are not eligible.

Baseline — The baseline condition is the existing window U-factor, where such value is known and substantiated by acceptable supporting documentation. In cases where the existing U-factor is not available or cannot be adequately documented, the engineering team will establish an estimated baseline U-factor based on the information provided in the project scope section below.

Compliance — The compliance condition for this measure is the installation of a permanently installed (non-removable) window insert or secondary window that results in an overall reduction in the window U-factor relative to existing conditions and demonstrates net positive energy savings, inclusive of any applicable solar heat gain impacts or penalties, where evaluated.

### Incentive

| DNY Gas | Incentive Rate | DAC Rate | Project Incentive Cap |
| --- | --- | --- | --- |
| Window Insert | $3.5/SQft | $4.5/SQft | Market Rate: 85% or $50,000, whichever is met first DAC: 90% or $50,000, whichever is met first |
| UNY Gas & Electric | Incentive Rate | DAC Rate | Project Incentive Cap |
| Window Insert | $3.5/SQft | $4.5/SQft | Market Rate: 70% or $50,000, whichever is met first DAC: 85% or $50,000, whichever is met first |

Project Scope must include:

- Building Type

- Building System Type:

  - AC With Electric Heat

  - AC With Fuel Heat

  - Air Source Heat Pump

  - Electric Heat Only

  - Fuel Heat Only

- Existing Window Vintage: Year Built or Year of Last Renovation

- Existing number of panes per window (i.e., single, double)

- Existing Window U-Factor, if known

- Existing Solar Heat Gain Coefﬁcient (SHGC)

- Existing Visible Transmittance (VT)

- Proof of existing U-factors, SHGC, & VT, needs to be provided using either the manufacturer's order conﬁrmation showing the sizes and U-factors for all windows, or product speciﬁcations sheet or other method deemed acceptable by internal engineering staff.

- Window insert Spec Sheet or NFRC that includes:

  - Proposed post-install Window U-Factor

  - Proposed post-install Solar Heat Gain Coefﬁcient (SHGC)

  - Proposed post-install Visible Transmittance (VT)

  - Proof of proposed U-Factors, SHGC, & VT needs to be provided using the manufacturer’s order conﬁrmation/speciﬁcation sheet showing the sizes and U-Factors for all windows, or the NFRC sticker from each window

- Area (sq ft) of each window or window dimension

- Each window structure type (i.e., Operable or Fixed)

- Fossil Fuel Equipment Efﬁciency (Eff Fuel Heat) – for Gas only

- Electric Cooling Seasonal Efﬁciency, Eff Elec Cool (SEER or IEER) – for Electric cooling

- Electric Cooling Energy Efﬁciency Ratio (EER) – for Electric cooling

- Electric Heating Efﬁciency Rating, Eff Elec Heat (HSPF) – for Electric Heating

## Ceiling/Attic/Roof/Wall Insulation

Speciﬁcations — This measure covers the installation of wall, roof, attic, and ceiling insulation to reduce the thermal conductance of the building envelope. Energy and demand savings are realized through reductions in the building’s heating and cooling loads. Existing (baseline) and installed (qualifying) shell R-values must be captured to estimate energy savings.

### Baseline (including wall, roof, attic, and ceiling) For Retroﬁt Projects

The baseline condition is a building envelope with insufﬁcient insulation (e.g., R-value less than current construction code requirements).

R-Value of existing insulation shall come from application supported by substantial evidence that is deemed acceptable by internal engineering staff. If unknown, the values presented in the following NYS Technical Resource Manual (TRM) default baseline R-values will be used.

Compliance For Wall/ Ceiling/ Attic/ Roof Projects — The compliance condition is a commercial opaque building shell with increased insulation meeting or exceeding applicable construction code requirements, if required by code.

Opaque shell insulation improvements performed under this measure shall be installed such that all altered envelope components comply with all federal, state, local and municipal codes and standards applicable to alterations or major renovation of existing or gut rehab buildings.

Code compliance is the sole responsibility of the customer and/or contractor. The Program makes no representation or warranty regarding code compliance, and approval of a project or payment of incentives shall not be construed as conﬁrmation of such compliance.

Submit pictures and insulation speciﬁcation sheet that show insulation type, thickness, R-value and proper installation. Photos showing thickness measurements must show the item being measured by the proper measurement tool (measuring tape, depth gauge, etc.).

### TRM Default Baseline R-Values for Retroﬁt Projects in Existing Buildings

| Building Type | Retroﬁt Projects Only Baseline R-Values |  |
| --- | --- | --- |
|  | Ceiling/Attic/Roof | Wall |
| Assembly | R-12 | R-5 |
| Auto Repair | R-13.5 | R-7.5 |
| Big Box | R-12 | R-5 |
| Community College | R-13.5 | R-7.5 |
| College Dormitory | R-13.5 | R-7.5 |
| Elementary School | R-12 | R-5 |
| Fast Food | R-12 | R-5 |
| Full-Service Restaurant | R-12 | R-5 |
| Grocery | R-12 | R-5 |
| High School | R-13.5 | R-7.5 |
| Hospital | R-13.5 | R-7.5 |
| Hotel | R-13.5 | R-7.5 |
| Large Ofﬁce | R-13.5 | R-7.5 |
| Large Retail | R-13.5 | R-7.5 |
| Light Industrial | R-12 | R-5 |
| Motel | R-12 | R-5 |
| Refrigerated Warehouse | R-20 | R-20 |
| Religious | R-12 | R-5 |
| Small Ofﬁce | R-12 | R-5 |
| Small Retail | R-12 | R-5 |
| University | R-13.5 | R-7.5 |
| Warehouse | R-12 | R-5 |

Ceiling/ Attic/ Roof Retroﬁt Projects – Example Compliance R-Values (when code is triggered)

&

### Ceiling/ Attic/ Roof Gut Rehab Projects – Baseline R-Values

The following table provides an illustrative example of the2025 ECCCNYS code assembly U-factor (converted to R-value)1 requirement when code compliance is triggered for major renovation retroﬁt projects, as well as the applicable baseline R-value for gut rehab for Ceiling/ Attic/ Roof.

| Building Type | Retrofit Projects Only Baseline R-Values | 2025 ECCCNYS - Section C402.1.2 Assembly maximum U-factor (Converted to minimum R-values) R-Values Required for Major Alteration Retrofit Projects for Proposed Insulation & R-Values Required for Gut Rehab Projects for Baseline Insulation |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Climate Zone 4 & 5 |  |  | Climate Zone 6 |  |  |
|  | Ceiling/ Attic/ Roof | Insulation Entirely Above Roof Deck | Metal Buildings | Attic & Other | Insulation Entirely Above Roof Deck | Metal Buildings | Attic & Other |
| Assembly | 12 | U-0.030 (R-33.3) | U-0.035 (R-28.6) | U-0.020 R-50 | U-0.029 (R-34.5) | U-0.029 (R-34.5) | U-0.019 (R-52.6) |
| Auto repair | 13.5 |  |  |  |  |  |  |
| Big Box Retail | 12 |  |  |  |  |  |  |
| Community College | 13.5 |  |  |  |  |  |  |
| Dormitory | 13.5 |  |  |  |  |  |  |
| Elementary School | 12 |  |  |  |  |  |  |
| Fast Food Restaurant | 12 |  |  |  |  |  |  |
| Full-Service Restaurant | 12 |  |  |  |  |  |  |
| Grocery | 12 |  |  |  |  |  |  |
| High School | 13.5 |  |  |  |  |  |  |
| Hospital | 13.5 |  |  |  |  |  |  |
| Hotel | 13.5 |  |  |  |  |  |  |
| Large Office | 13.5 |  |  |  |  |  |  |
| Large Retail | 13.5 |  |  |  |  |  |  |
| Light Industrial | 12 |  |  |  |  |  |  |
| Motel | 12 |  |  |  |  |  |  |
| Religious | 12 |  |  |  |  |  |  |
| Small Office | 12 |  |  |  |  |  |  |
| Small Retail | 12 |  |  |  |  |  |  |
| University | 13.5 |  |  |  |  |  |  |
| Warehouse | 12 |  |  |  |  |  |  |

1 Assembly R values are calculated as the inverse of ECCCNYS Section C402.1.2 maximum assembly U factors and reﬂect whole ceiling, attic, or roof performance inclusive of framing effects.

### Wall Retroﬁt Projects – Compliance R-Values &

Wall Gut Rehab Projects – Baseline R-Values

The following table provides an illustrative example of the 2025 ECCCNYS wall assembly U-factor2 (converted to R-value) requirements when code compliance is triggered for major renovation retroﬁt projects, as well as the applicable baseline R-value for gut rehab.

| Building Type | Retrofit Projects Only Baseline R-Values | 2025 ECCCNYS - Section C402.1.2 Assembly maximum U-factor (Converted to minimum R-values) R-Values Required for Major Alteration Retrofit Projects for Proposed Insulation & R-Values Required for Gut Rehab Projects for Baseline Insulation |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Climate Zone 4 |  |  |  |  |
|  | Wall | Mass Wall, Above Grade | Metal Building Wall, Above Grade | Metal Framed Wall, Above Grade | Wood Framed and Other Walls, Above Grade | Below-Grade Wall |
| Assembly | 5 | U-0.090 (R-11.1) | U-0.048 (R-20.8) | U-0.061 (R-16.4) | U-0.061 (R-16.4) | C-0.119 (R-8.4) |
| Auto repair | 7.5 |  |  |  |  |  |
| Big Box Retail | 5 |  |  |  |  |  |
| Community College | 7.5 |  |  |  |  |  |
| Dormitory | 7.5 |  |  |  |  |  |
| Elementary School | 5 |  |  |  |  |  |
| Fast Food Restaurant | 5 |  |  |  |  |  |
| Full-Service Restaurant | 5 |  |  |  |  |  |
| Grocery | 5 |  |  |  |  |  |
| High School | 7.5 |  |  |  |  |  |
| Hospital | 7.5 |  |  |  |  |  |
| Hotel | 7.5 |  |  |  |  |  |
| Large Office | 7.5 |  |  |  |  |  |
| Large Retail | 7.5 |  |  |  |  |  |
| Light Industrial | 5 |  |  |  |  |  |
| Motel | 5 |  |  |  |  |  |
| Religious | 5 |  |  |  |  |  |
| Small Office | 5 |  |  |  |  |  |
| Small Retail | 5 |  |  |  |  |  |
| University | 7.5 |  |  |  |  |  |
| Warehouse | 5 |  |  |  |  |  |

2 Assembly R values are calculated as the inverse of ECCCNYS Section C402.1.2 maximum assembly U factors and reﬂect whole wall performance inclusive of framing effects.

| Building Type | Retrofit Projects Only Baseline R-Values | 2025 ECCCNYS - Section C402.1.2 Assembly maximum U-factor (Converted to minimum R-values) R-Values Required for Major Alteration Retrofit Projects for Proposed Insulation & R-Values Required for Gut Rehab Projects for Baseline Insulation |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Climate Zone 5 |  |  |  |  |
|  | Wall | Mass Wall, Above Grade | Metal Building Wall, Above Grade | Metal Framed Wall, Above Grade | Wood Framed and Other Walls, Above Grade | Below-Grade Wall |
| Assembly | 5 | U-0.080 (R-12.5) | U-0.048 (R-20.8) | U-0.052 (R-19.2) | 0.048 (R-20.8) | C-0.119 (R-8.4) |
| Auto repair | 7.5 |  |  |  |  |  |
| Big Box Retail | 5 |  |  |  |  |  |
| Community College | 7.5 |  |  |  |  |  |
| Dormitory | 7.5 |  |  |  |  |  |
| Elementary School | 5 |  |  |  |  |  |
| Fast Food Restaurant | 5 |  |  |  |  |  |
| Full-Service Restaurant | 5 |  |  |  |  |  |
| Grocery | 5 |  |  |  |  |  |
| High School | 7.5 |  |  |  |  |  |
| Hospital | 7.5 |  |  |  |  |  |
| Hotel | 7.5 |  |  |  |  |  |
| Large Office | 7.5 |  |  |  |  |  |
| Large Retail | 7.5 |  |  |  |  |  |
| Light Industrial | 5 |  |  |  |  |  |
| Motel | 5 |  |  |  |  |  |
| Religious | 5 |  |  |  |  |  |
| Small Office | 5 |  |  |  |  |  |
| Small Retail | 5 |  |  |  |  |  |
| University | 7.5 |  |  |  |  |  |
| Warehouse | 5 |  |  |  |  |  |

| Building Type | Retrofit Projects Only Baseline R-Values | 2025 ECCCNYS - Section C402.1.2 Assembly maximum U-factor (Converted to minimum R-values) R-Values Required for Major Alteration Retrofit Projects for Proposed Insulation & R-Values Required for Gut Rehab Projects for Baseline Insulation |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Climate Zone 6 |  |  |  |  |
|  | Wall | Mass Wall, Above Grade | Metal Building Wall, Above Grade | Metal Framed Wall, Above Grade | Wood Framed and Other Walls, Above Grade | Below-Grade Wall |
| Assembly | 5 | U-0.071 (R-14.1) | U-0.048 (R-20.8) | U-0.047 (R-21.3) | 0.048 (R-20.8) | C-0.092 (R-10.9) |
| Auto repair | 7.5 |  |  |  |  |  |
| Big Box Retail | 5 |  |  |  |  |  |
| Community College | 7.5 |  |  |  |  |  |
| Dormitory | 7.5 |  |  |  |  |  |
| Elementary School | 5 |  |  |  |  |  |
| Fast Food Restaurant | 5 |  |  |  |  |  |
| Full-Service Restaurant | 5 |  |  |  |  |  |
| Grocery | 5 |  |  |  |  |  |
| High School | 7.5 |  |  |  |  |  |
| Hospital | 7.5 |  |  |  |  |  |
| Hotel | 7.5 |  |  |  |  |  |
| Large Office | 7.5 |  |  |  |  |  |
| Large Retail | 7.5 |  |  |  |  |  |
| Light Industrial | 5 |  |  |  |  |  |
| Motel | 5 |  |  |  |  |  |
| Religious | 5 |  |  |  |  |  |
| Small Office | 5 |  |  |  |  |  |
| Small Retail | 5 |  |  |  |  |  |
| University | 7.5 |  |  |  |  |  |
| Warehouse | 5 |  |  |  |  |  |

### Incentive:

| DNY Gas | Incentive Rate | DAC Rate | Project Incentive Cap |
| --- | --- | --- | --- |
| Roof/Wall Insulation R value 4-10 | $0.15/SQft | $1.15/SQft | Market Rate: 85% or $50,000, whichever is met first DAC: 90% or $50,000, whichever is met first |
| Roof/Wall Insulation R value 11-20 | $1.5/SQft | $2.5/SQft |  |
| Roof/Wall Insulation R value 21-30 | $1.75/SQft | $2.75/SQft |  |
| Roof/Wall Insulation R value 31-40 | $1.9/SQft | $2.9/SQft |  |
| Roof/Wall Insulation R value 41+ | $2/SQft | $3/SQft |  |
| UNY Gas | Incentive Rate | DAC Rate | Project Incentive Cap |
| Roof/Wall Insulation R value 4-10 | $0.15/SQft | $1.15/SQft | Market Rate: 70% or $50,000, whichever is met first DAC: 85% or $50,000, whichever is met first |
| Roof/Wall Insulation R value 11-20 | $1.5/SQft | $2.5/SQft |  |
| Roof/Wall Insulation R value 21-30 | $1.75/SQft | $2.75/SQft |  |
| Roff/Wall Insulation R value 31-40 | $1.9/SQft | $2.9/SQft |  |
| Roof/Wall Insulation R value 41+ | $2/SQft | $3/SQft |  |
| UNY Electric | Incentive Rate | DAC Rate |  |
| Wall Insulation R value 4-10 | $2/SQft | $3/SQft |  |
| Wall Insulation R value 11-20 | $3/SQft | $4/SQft |  |
| Wall Insulation R value 20+ | $4/SQft | $5/SQft |  |
| Wall Insulation Passive House | $8/SQft | $9/SQft |  |
| Roof Insulation R value 4-10 | $0.6/SQft | $1.6/SQft |  |
| Roof Insulation R value 11-20 | $1.7/SQft | $2.7/SQft |  |
| Roof Insulation R value 20+ | $2.4/SQft | $3.4/SQft |  |
| Roof Insulation Passive House | $4.8/SQft | $5.8/SQft |  |

Project Scope must include:

- Building type

- Project Type: (Retroﬁt or Gut Rehab)

- Building Envelope Component Type: (Attic, Ceiling, Roof, Wall)

- Building Envelope Component Location

- Existing Insulation Status (i.e., being removed or remaining in addition to proposed insulation)

- Net area of insulated surfaces (sq ft)

- For Gut Rehab Ceiling / Attic / Roof Projects, Indicate its type:

  - Insulation Entirely Above Roof Deck

  - Metal Frame

  - Attic/Other

- For Gut Rehab Wall Projects, Indicate Wall Type:

  - Mass Building 3

  - Metal Building

  - Metal Framed

  - Wood Frame and Other

  - Below-Grade Wall

- Is it a Passive House Project? (Y/N)

  - If project is Passive House, Passive House Certiﬁcation is required.

- R-value of existing insulation, if known

  - Supported by substantial evidence and pictures that is deemed acceptable by internal engineering staff.

  - Existing Vintage: Year Built or Year of Last Renovation

- R-value of proposed insulation

  - Submit pictures and insulation speciﬁcation sheet that show insulation type, thickness, R-value and proper installation. Photos showing thickness measurements must show the item being measured by the proper measurement tool (measuring tape, depth gauge, etc.).

- Fossil Fuel Equipment Efﬁciency (Eff Fuel Heat) – for Gas only

- Electric Cooling Seasonal Efﬁciency, Eff Elec Cool (SEER or IEER) – for Electric cooling

3 A wall with a heat capacity exceeding 7 Btu/ft²·°F (ex: concrete wall greater or equal to 6” in thickness).

- Electric Cooling Energy Efﬁciency Ratio (EER) – for Electric cooling

- Electric Heating Efﬁciency Rating, Eff Elec Heat (HSPF) – for Electric Heating

## Radiator Radiance Barrier

Speciﬁcations — A radiator radiant barrier is a sheet material with a low-emittance surface (emittance ≤ 0.10) installed as part of a building assembly. The radiant barrier is installed between a radiator and an exterior wall to reﬂect radiant heat emitted by the radiator back into the conditioned space, reducing radiant heat loss to the exterior wall and improving heat delivery to the occupied space.

Baseline — Existing radiators with no radiant barrier installed between the radiator and the exterior wall.

Compliance — Radiant barrier material shall comply with the requirements of ASTM C1313/C1313M (Standard Speciﬁcation for Sheet Radiant Barriers for Building Construction Applications). The radiant barrier shall be permanently installed between the radiator and the exterior wall and shall fully cover the wall area directly behind the radiator.

Installation shall be performed in accordance with ASTM C1743 (Standard Practice for Installation and Use of Radiant Barrier Systems) and must be completed by a professional contractor.

Do-it-yourself (DIY) installations are not eligible for incentives. Picture documentation must be submitted for each installed radiant barrier.

### Incentive:

| DNY Gas | Incentive Rate | DAC Rate | Project Incentive Cap |
| --- | --- | --- | --- |
| Radiator Radiant Barrier | $20/Unit | $25/Unit | Market Rate: 85% or $50,000, whichever is met first DAC: 90% or $50,000, whichever is met first |
| UNY Gas & Electric | Incentive Rate | DAC Rate | Project Incentive Cap |
| Radiator Radiant Barrier | $20/Unit | $25/Unit | Market Rate: 70% or $50,000, whichever is met first DAC: 85% or $50,000, whichever is met first |

Project Scope must include:

- Building type

- Wall Insulation Condition: (Insulated / uninsulated)

  - Submit substantial evidence if wall is uninsulated.

- Quantity of radiators that will have radiant barriers.

- Dimensions of each radiator, if known

- Quantity & installation location of radiant barriers proposed.

- Radiant barrier speciﬁcation sheet.

- Heating system type (Hot water or Steam).

## Exterior Door Replacement

Speciﬁcations — This measure covers the replacement of exterior doors, or set of doors, garage doors, or an entrance door with a vertical fenestration used for occupant ingress, egress and access in nonresidential buildings, including, but not limited to, exterior entrances utilizing latching hardware and automatic closers and containing over 50 percent glazing speciﬁcally designed to withstand heavy-duty usage. This measure is only applicable as a retroﬁt in existing buildings.

Baseline — Doors must be installed in the building thermal envelope that provide occupant ingress or egress between conditioned interior space and the unconditioned outdoors. Existing doors’ U-factor must be less efﬁcient than the current ECCCNYS/NYC code requirements If the U-values for existing doors are unknown, the table below with the U-factor derived from the current ECCCNYS code will be used.

Compliance — All doors must include air sealing via weather stripping and caulking. All doors must meet or exceed the current ECCCNYS/NYC code requirements. Doors for unconditioned spaces, such as basement or interior doors that are not exposed directly to the outdoors and separate between conditioned and unconditioned spaces do not qualify for incentive.

### Incentive:

| Values Derived from 2025 ECCCNYS - TABLES C303.1.3(1)(2), C402.1.2, C402.5 |  |  |
| --- | --- | --- |
| Door Type | Baseline U-factor | ECCCNYS Maximum Code U-factor Accepted |
| Non-Swinging Door | 0.60 | 0.31 |
| Swinging Door | 0.60 | 0.37 |
| Garage Door (< 14% Glazing) | 0.63 | 0.31 |
| Entrance Doors (>50% Glazing) | 0.67 | 0.63 |

| DNY Gas | Incentive Rate | DAC Rate | Project Incentive Cap |
| --- | --- | --- | --- |
| Exterior Door Replacement | $17/SQft | $18/SQft | Market Rate: 85% or $50,000, whichever is met first DAC: 90% or $50,000, whichever is met first |
| UNY Gas & Electric | Incentive Rate | DAC Rate | Project Incentive Cap |
| Exterior Door Replacement | $17/SQft | $18/SQft | Market Rate: 70% or $50,000, whichever is met first DAC: 85% or $50,000, whichever is met first |

Project Scope must include:

- Building System Type:

  - AC With Electric Heat

  - AC With Fuel Heat

  - Air Source Heat Pump

  - Electric Heat Only

  - Fuel Heat Only

- Quantity of Doors

- Doors Location

- Existing Door Vintage: Year Installed, if known

- Existing Window U-Factor, if known

- Area (sq ft) of each door or door dimension (height & width)

- Proof of existing U-factors needs to be provided using either the manufacturer's order conﬁrmation showing the sizes and U-factors for all doors, or product speciﬁcations sheet or other method deemed acceptable by internal engineering staff.

- Each door structure type:

  - Non-Swinging Door

  - Swinging Door

  - Garage Door (< 14% Glazing)

  - Entrance Doors (>50% Glazing)

- Proposed Door U-Factor

- Proof of proposed U-factors needs to be provided using either the manufacturer's order conﬁrmation showing the sizes and U-factors for all doors, or the NFRC sticker from each door

- Is the interior area behind the door heated? (Y/N)

- Is the interior area behind the door cooled/air conditioned? (Y/N)

- Pictures must be submitted to prove door sizes, and the doors are separating conditioned space from unconditioned space, (e.g. pictures of radiators or air conditioning units near each door)

- Fossil Fuel Equipment Efﬁciency (Eff Fuel Heat) – for Gas only

- Electric Cooling Seasonal Efﬁciency, Eff Elec Cool (SEER or IEER) – for Electric cooling

- Electric Cooling Energy Efﬁciency Ratio (EER) – for Electric cooling

- Electric Heating Efﬁciency Rating, Eff Elec Heat (HSPF) – for Electric Heating

# Custom Measures:

Tailored to a customer’s speciﬁc needs, National Grid also offers incentives to help customers target unique energy-efﬁciency opportunities not covered by our prescriptive offerings.

Custom Incentives are performance based and calculated at the rates indicated in this section. Custom measure eligibility, savings, and incentives are determined at the sole discretion of National Grid. All custom applications require written pre- approval, via a signed offer letter, before construction can begin.

## Duct Sealing and Insulation

Speciﬁcations — This measure covers the installation of sealing and insulation of the space heating and air conditioning distribution system (including air handlers, ﬁlter boxes and building cavities used as ducts before code change) in the unconditioned spaces of commercial facilities.

Sealing and insulation installed under this measure shall meet or exceed all applicable construction code requirements. This measure is only applicable for retroﬁt projects in existing buildings. Only ductwork located outside of the thermal envelope is eligible for energy savings.

This measure is to be implemented with a visual inspection and an outdoor duct leakage test on the distribution system pre- and post-implementation.

Baseline — The baseline condition is a ducted HVAC system with insufﬁcient sealing and insulation that has undergone duct leakage testing.

Compliance — The compliance condition is a sealed and insulated duct system in a commercial building that has undergone post-implementation duct leakage testing.

A duct leakage test is turned on to pressurize the duct system to 25 Pascals (the standardized pressure differential used as a baseline for a commercial duct leakage test). The results are reported as “cfm @ 25 Pascals (0.1 inches w.g.)”.

The post-installation case must comply with all provisions of enforced codes and standards including but not limited to ECCCNYS and NYSMC 2025.

Supply and return air ducts and plenums located in unconditioned spaces shall be insulated with a minimum of R-6 insulation. Where located outside the building, ducts and plenums shall be insulated with a minimum of R-8 insulation in Climate Zone 4 and with a minimum of R-12 in Climate Zones 5 and 6.

### Incentive:

| DNY Gas | Incentive Rate | DAC Rate | Project Incentive Cap |
| --- | --- | --- | --- |
| Duct Sealing and Insulation - Unconditioned Space | $17/therm | $18/therm | Market Rate: 85% or $50,000, whichever is met first DAC: 90% or $50,000, whichever is met first |
| UNY Gas | Incentive Rate | DAC Rate | Project Incentive Cap |
| Duct Sealing and Insulation - Unconditioned Space | $17/therm | $18/therm | Market Rate: 70% or $50,000, whichever is met first DAC: 85% or $50,000, whichever is met first |
| UNY Electric | Incentive Rate | DAC Rate |  |
| Duct Sealing and Insulation - Unconditioned Space | $0.20/kWh | $1.20/kWh |  |

Project Scope must include:

- Building Type

- Duct leakage % at pre-installation (using duct blaster testing)

- Pre-install R-value on duct distribution system (uninsulated or R-6)

- Duct leakage % at post-installation (using duct blaster testing)

- Post-install R-value on duct distribution system

- Building System Main Type (Constant or Variable Air Volume & With or Without Economizer)

- Building System Type:

  - AC With Electric Heat

  - AC With Fuel Heat

  - Air Source Heat Pump

  - Electric Heat Only

  - Fuel Heat Only

- Duct Location

  - Attic

  - Garage

  - Crawl space, Unvented, Uninsulated

  - Crawl Space, Unvented, Insulated Building Floor and Crawl Space Walls

  - Crawl Space, Unvented, Insulated Floor Only

  - Crawl Space, Vented, Uninsulated

  - Crawl Space, Insulated Building Floor and Crawlspace Walls

  - Crawl Space, Vented, Insulated Floor Only

  - Basement, Uninsulated

  - Basement, Insulated Walls

  - Under-Slab

- Input heating capacity (kBTU/hin) – for Gas only

- Output heating capacity (kBTU/h) – for Gas only

- Input heating capacity (kWin) – for Electric cooling

- Output cooling capacity (tons) – for Electric cooling

- Heating Equivalent Full-Load Hours

- Cooling Equivalent Full-Load Hours

- Seasonal energy efﬁciency ratio in BTU/watt-hour (SEER) – for Electric cooling

- Integrated energy efﬁciency ratio in BTU/watt-hour (IEER) – for Electric cooling

- Energy efﬁciency ratio under peak conditions in BTU/watt-hour (EER) – for Electric cooling

- Heating seasonal performance factor (HSPF) – for Electric heating

- Coefﬁcient of performance (COP) – for Electric heating

## Pipe Insulation

Speciﬁcations — Installing new pipe insulation on existing bare piping is eligible for an incentive at the rates indicated in this section.

Repairing damaged insulation and gut rehab projects are not eligible for incentives.

- This measure is eligible when installed in unconditioned spaces in the following applications:

  - For Space Heating applications

  - For Domestic Hot Water distribution system applications

  - Other applications (i.e., Chilled Water, LOW, Medium and High-Pressure Steam Systems, etc.)

  - Pipe components (i.e., Tank, Valve, Pump, elbows, steam traps, boiler, water heater etc.) may be eligible for custom incentives

- Pipes that have undergone an asbestos abatement in the past 12 months aren’t eligible for incentives

- Insulation must be installed in accordance with the NYCECC or NYSECC as applicable, based on pipe diameter.

### 2025 ECCCNYS minimum code compliance is shown in the following table (Required Insulation Thickness in inches):

| Fluid Operating Temperature Range and Usage (˚F) | Conductivity BTU-in/h-SF-F | Mean Rating Temperature | Nominal Pipe or Tube Size (in) |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | < 1 | > 1 and < 1.5 | > 1.5 and < 4 | > 4 and < 8 | 8 |
| > 350 | 0.32-0.34 | 250 | 4.5 | 5 | 5 | 5 | 5 |
| 251-350 | 0.29-0.32 | 200 | 3 | 4 | 4.5 | 4.5 | 4.5 |
| 201-250 | 0.27-0.30 | 150 | 2.5 | 2.5 | 2.5 | 3.0 | 3.0 |
| 141-200 | 0.25-0.29 | 125 | 1.5 | 1.5 | 2.0 | 2.0 | 2.0 |
| 105-140 | 0.21-0.28 | 100 | 1.0 | 1.0 | 1.5 | 1.5 | 1.5 |
| 40-60 | 0.21-0.27 | 75 | 0.5 | 0.5 | 1.0 | 1.0 | 1.0 |
| <40 | 0.20-0.26 | 50 | 0.5 | 1.0 | 1.0 | 1.0 | 1.5 |

Compliance — Submit pictures of boiler(s) and associated nameplate(s) ratings. For dual-fuel boilers, you must indicate the percentage of time the boiler runs on gas provided by National Grid.

### Incentive:

| DNY Gas | Incentive Rate | DAC Rate | Project Incentive Cap |
| --- | --- | --- | --- |
| Insulation - Hot Water and Steam Pipe | $4.5/Linear Foot | $5.5/Linear Foot | Market Rate: 85% or $50,000, whichever is met first DAC: 90% or $50,000, whichever is met first |
| Insulation - Pipe Components (Tank, Valve, Pump, etc.) | $17/therm | $18/therm |  |
| UNY Gas | Incentive Rate | DAC Rate | Project Incentive Cap |
| Insulation - Hot Water and Steam Pipe | $4.5/Linear Foot | $5.5/Linear Foot | Market Rate: 70% or $50,000, whichever is met first DAC: 85% or $50,000, whichever is met first |
| Insulation - Pipe Components (Tank, Valve, Pump, etc.) | $17/therm | $18/therm |  |
| UNY Electric | Incentive Rate | DAC Rate |  |
| Insulation - Hot Water and Steam Pipe | $4.5/Linear Foot | $5.5/Linear Foot |  |
| Insulation - Pipe Components (Tank, Valve, Pump, etc.) | $0.2/kWh | $1.2/kWh |  |

Straight Pipe Project Scope must complete the Pipe Insulation Calc Tool that includes:

- Pipe Location

- Linear Feet of Insulation per pipe

- Pipe/ﬁtting Size (Diameter in Inches) for each pipe size

- Pipe Material Type (Steel, Copper, CPVC_PEX)

- Fluid type: Domestic Hot Water, Heating Hot Water, Steam (Low, Mid, High), cooling chilled water system

- Proposed Insulation Material (Fiberglass or Rigid Foam Cellular Glass)

- Proposed Insulation thickness (inches)

- Building System Main Type (Constant or Variable Air Volume & With or Without Economizer)

## Other Custom Measures Offered:

| DNY Gas | Incentive Rate | DAC Rate | Project Incentive Cap |
| --- | --- | --- | --- |
| Storm Window | $17/therm | $18/therm | Market Rate: 85% or $50,000, whichever is met first DAC: 90% or $50,000, whichever is met first |
| Floor Insulation - Separate Condition and Unconditioned Space |  |  |  |
| UNY Gas | Incentive Rate | DAC Rate | Project Incentive Cap |
| Storm Window | $17/therm | $18/therm | Market Rate: 70% or $50,000, whichever is met first DAC: 85% or $50,000, whichever is met first |
| Floor Insulation - Separate Condition and Unconditioned Space |  |  |  |
| UNY Electric | Incentive Rate | DAC Rate |  |
| Storm Window | $0.2/kWh | $1.2/kWh |  |
| Floor Insulation - Separate Condition and Unconditioned Space |  |  |  |
| Chilled/Cold Water Pipe |  |  |  |

CM11004 UNY (4/26)